## Analysis - Example
Total polyphosphate quantification kit - Analysis sheet
Instructions
Insert values into the blue fields.
The # sign and green color denote a comment.
Calibration curve phosphate
Phosphate standards [µM] | 20 | 65 | 110 | 155 | 200
Absorbance | 0.1935 | 0.504 | 0.806 | 1.102 | 1.4235
Slope | 0.0067956
y-intercept | 0.058289
Lower limit of detection [µM Pi] | 5
upper limit of detection [µM Pi] | 200
Negative control
Sample name | Absorbance | Phosphate concentration [µM]
Negative control | 0.05 | < 5 | # Should be < 5 µM phosphate.
Positive control
Sample name | Absorbance | PolyP concentration [µM]
Positiv control | 0.7 | 94.431 | # Should be between 80 and 120 µM polyP.
Samples
|  | Absorbance |  | Concentration undiluted |  | True polyP concentration [µM polyP, as monomer]
Sample name | Dilution [times] | Blank | Sample | Blank [µM phosphate] | Sample [µM polyP + phosphate]
Sample 1 | 10 | 0.2 | 0.5 | 208.535 | 650 | 441.465

## Analysis
Total polyphosphate quantification kit - Analysis sheet
Instructions
Insert values into the blue fields.
The # sign and green color denote a comment.
Calibration curve phosphate
Phosphate standards [µM] | 20 | 65 | 110 | 155 | 200
Absorbance
Slope
y-intercept
Lower limit of detection [µM Pi] | 5
upper limit of detection [µM Pi] | 200
Negative control
Sample name | Absorbance | Phosphate concentration [µM]
Negative control |  |  | # Should be < 5 µM phosphate.
Positive control
Sample name | Absorbance | PolyP concentration [µM]
Positiv control |  |  | # Should be between 80 and 120 µM polyP.
Samples
|  | Absorbance |  | Concentration undiluted |  | True polyP concentration [µM polyP, as monomer]
Sample name | Dilution [times] | Blank | Sample | Blank [µM phosphate] | Sample [µM polyP + phosphate]